## Defective-2025
| List of defective instrument list - 2026 |  |  |  |  | MP-QA -54 / 01 / 20.01.2017
SL.NO. | INSTRUMENT ID NO | Description | Size | LC | MAKE | Location | Calibration frequency | Rejected date | Reason for rejection
1 | MP-TPG-580 | TPG | 10-24UNC-2B |  | BAKER | Production | 3 | 2026-01-11 | Worn out
2 | MP-TPG-567 | TPG | 3/8-16UNC-2B |  | BAKER | Production | 3 | 2026-01-08 | Worn out
3 | MP-TPG-414 | TPG | 5/8-11UNC-2B |  | BAKER | Production | 6 | 2026-01-21 | Worn out
4 | MP-LD-99 | Lever Dial | 0-0.8 | 0.01mm | MItutoyo | WC-81 | 12 | 2024-12-26 | Worn out
5 | MP-TPG-574 | TPG | 3/8-16UNC-2B |  | BAKER | Production | 3 | 2026-01-21 | Worn out
6 | MP-TPG-587 | TPG | 6.155-8 SPECIAL BUTTRESS |  | SIZE MASTER | Production | 12 | 2026-01-21 | Worn out
7 | MP-TRG-496 NG | TRG | 1.5/16-16UN-2A |  | BAKER | Production | 6 | 2026-01-31 | Worn out
8 | MP-PD-67 | Plunger Dial | 0-10 | 0.01mm | MITUTOYO | HONING | 12 | 2025-01-17 | Worn out
9 | MP-TPG-436 | TPG | 5/8-11UNC-2B |  | BAKER | TAPPING | 3 | 2026-02-09 | Worn out
10 | MP-TPG-250 | TPG | 7/16-14UNC-2B |  | BAKER | Production | 12 | 2026-02-09 | Worn out
11 | MP-TPG-593 | TPG | 10-24UNC-2B |  | BAKER | Production | 3 | 2026-02-09 | Worn out
12 | MP-TPG-394 | TPG | 8-32UNC-2B |  | BAKER | Production | 3 | 2026-02-19 | Worn out
13 | MP-TRG-426 G | TRG | 1.1/8-16UN-2A |  | BAKER | Production | 3 | 2026-02-17 | Worn out
14 | MS-TRG-09 G | TRG | 1.5/8-12UN-2A |  | Baker | Production | 6 | 2026-02-17 | Worn out
15 | MP-TRG-375 G | TRG | 1.5/8-16UN-2A |  | BAKER | Production | 6 | 2026-02-17 | Worn out
16 | MP-DVC-50 | Digital vernier caliper | 0-200 | 0.01mm | MItutoyo | Quality | 12 | 2026-02-24 | Worn out
17 | MP-TPG-583 | TPG | 2.00-6STUBACME-2G |  | SIZE MASTER | Production | 12 | 2026-02-24 | Worn out
18 | MP-TPG-473 | TPG | 5/16-18UNC-2B |  | BAKER | Production | 3 | 2026-02-24 | Worn out
19 | MP-TRG-469 G | TRG | M10X1.5-6g |  | BAKER | Production | 3 | 2026-02-24 | Worn out
20 | MP-TRG-475 G | TRG | 1.1/4-12UNF-2A |  | BAKER | Production | 3 | 2026-02-24 | Worn out
21 | MP-TRG-324 G | TRG | 2-16UN-2A |  | BAKER | Production | 3 | 2026-03-04 | Worn out
22 | MP-TPG-245 | TPG | 1.7/8-16UN-2B |  | BAKER | Production | 12 | 2025-02-27 | Worn out
23 | MP-QRG-15 (G) | QRG | 1/2-13UNC-2A | - | BAKER | Quality | 6 | 2026-03-08 | Worn out
24 | MP-TRG-263 NG | TRG | 1.1/16-10UN-2A |  | UNIVERSAL | Production | 12 | 2026-03-08 | Worn out
25 | MP-TRG-411 NG | TRG | 1-14UNS-2A |  | BAKER | Production | 3 | 2026-03-08 | Worn out
26 | MP-TPG-306 | TPG | M8X1.25-6H |  | BAKER | Production | 6 | 2026-03-09 | Worn out
27 | MP-TPG-367 | TPG | 3-48UNC-2B |  | BAKER | Production | 6 | 2026-03-07 | Worn out
28 | MS-TPG-10 | TPG | 3/4-16UNF-3B |  | Baker | Production | 3 | 2026-03-10 | Worn out
29 | MP-QPG-230 | QPG | 1/2-20UNF-3B |  | BAKER | Quality | 3 | 2026-03-11 | Worn out
30 | MS-TPG-05 | TPG | 1-14UNS-3B |  | BAKER | Production | 3 | 2026-03-10 | Worn out
31 | MP-TRG-153 G | TRG | 7/16-20UN-2A |  | UNIK | Production | 12 | 2026-03-23 | Worn out
32 | MP-QPG-229 | QPG | 3/8-24UNF-3B |  | BAKER | Quality | 3 | 2026-03-14 | Worn out
33 | MP-TPG-24 G | TPG | 3.1/2-12UN-2B | - | UNIK | Production | 6 | 2026-03-13 | Worn out
34 | MP-TPG-606 | TPG | 1/2-20UNF-2B |  | BAKER | Production | 6 | 2026-03-25 | Worn out
35 | MP-TRG-379 G | TRG | 3/8-16UNC-2A |  | BAKER | Production | 6 | 2026-03-25 | Worn out
36 | MP-TPG-568 | TPG | 5/16-18UNC-2B |  | BAKER | Production | 3 | 2026-03-26 | Worn out
37 | MP-TPG-511 | TPG | 5/16-24UNF-2B |  | BAKER | Production | 6 | 2026-03-26 | Worn out
38 | MP-TPG-600 | TPG | 1/4-20UNC-2B |  | BAKER | FLOWSERVE | 3 | 26-3--2026 | Worn out
39 | MP-TPG-546 | TPG | 6-32UNC-2B |  | BAKER | Tapping | 6 | 2026-04-09 | Worn out
40 | MP-QPG-234 | TPG | 3/8-16UNC-2B |  | BAKER | Production | 3 | 2026-04-10 | Worn out
41 | MP-TPG-599 | TPG | 1/4-20UNC-2B |  | BAKER | EMERSON | 3 | 2026-04-10 | Worn out
42 | MP-PRG-02 | Pressure gauge | 0-10 kg/cm2 | 0.4kg/cm2 | techno | Dry honning machine | 12 | 2026-02-10 | Worn out
43 | MP-TRG-523 G | TRG | 1.3/4-6ACME-2G |  | UNIVERSAL | Production | 6 | 2026-04-25 | Worn out
44 | MP-TRG-301 NG | TRG | M10X1.5-6G |  | BAKER | Production | 3 | 2026-04-21 | Worn out
45 | MP-TPG-620 | TPG | 5/16-18UNC-2B |  | BAKER | TAPPING | 3 | 2026-05-06 | Worn out
46 | MP-TPG-612 | TPG | 3/8-16UNC-2B |  | BAKER | Production | 3 | 2026-05-06 | Worn out
47 | MP-TPG-616 | TPG | 1/4-28UNF-2B |  | BAKER | Production | 3 | 2026-05-06 | Worn out
48 | MP-TRG-291 NG | TRG | 5/16-24UNF-2A | - | BAKER | Production | 3 | 2026-05-06 | Worn out
49 | MP-TRG-463 G | TRG | 3/4-24UNS-2A |  | UNIVERSAL | Production | 6 | 2026-05-06 | Worn out
50 | MP-TRG-470 G | TRG | 1-14UNS-2A |  | BAKER | Production | 3 | 2026-05-06 | Worn out
51 | MP-TPG-445 | TPG | 1.1/4-12UNF-3B |  | BAKER | Production | 6 | 2026-05-06 | Worn out
52 | MP-TRG-251 G | TRG | M50 X 1.5-6G |  | BAKER | Production | 6 | 2026-05-06 | Worn out
53 | MP-TPG-327 | TPG | 1-14UNS-2B |  | BAKER | Production | 6 | 2026-05-06 | Worn out
54 | MP-TPG-129 | TPG | 2-12UN-2B | - | BAKER | Production | 6 | 2026-05-06 | Broken
55 | MP-TPG-572 | TPG | 1-14UNS-3B |  | SIZE MASTER | Production | 3 | 2026-05-06 | Worn out
56 | MP-TRG-502G | TRG | 1.3/4-16UN-2A |  | BAKER | Production | 6 | 2026-05-05 | Worn out
57 | MP-TRG-353 NG | TRG | 4.750-12UN-1A |  | UNIVERSAL | Production | 12 | 2026-04-21 | Worn out
58 | MP-TPG-590 | TPG | 1/4-20UNC-3B |  | BAKER | Production | 6 | 2026-04-21 | Worn out
59 | MP-TRG-331 G&NG | TRG | 0.750-16UNRF-2A |  | SIZE MASTER | Production | 12 | 2026-04-21 | Worn out
60 | MP-TRG-393 NG | TRG | 2.3/4-10UNS-2A |  | UNIVERSAL | Production | 12 | 2026-05-22 | Worn out
61 | MP-TRG-427 G | TRG | M10X1.5-6g |  | BAKER | Production | 3 | 2026-05-22 | Worn out
62 | MP-TPG-592 | TPG | 5/16-24UNF-2B |  | BAKER | Production | 3 | 2026-04-30 | Worn out
63 | MP-TRG-470 G | TRG | 1-14UNS-2A |  | BAKER | Production | 3 | 2026-05-19 | Worn out
64 | MP-TPG-562 | TPG | 3/4-10UNC-2B |  | BAKER | Production | 6 | 2026-05-06 | Worn out
65 | MP-TPG-618 | TPG | 1/4-28UNF-2B |  | BAKER | TAPPING | 3 | 2026-05-06 | Worn out
66 | MP-TPG-631 | TPG | 3/8-24UNF-3B |  | BAKER | Production | 3 | 2026-05-13 | Worn out
67 | MP-QPG-235 | QPG | 3/4-16UNF-3B |  | BAKER | QUALITY | 3 | 2026-05-13 | Worn out
68 | MP-TPG-630 | TPG | 1/2-20UNF-3B |  | BAKER | Production | 3 | 2026-05-13 | Worn out
69 | MP-QRG-218 G | QRG | 3/8-16UNC-2A |  | BAKER | Quality | 6 | 2026-05-13 | Worn out
70 | MP-TRG-412 G | TRG | 7/8-20UNF-2A |  | BAKER | Production | 6 | 21-05-20263 | Worn out
71 | MP-TPG-619 | TPG | 3/8-16UNC-2B |  | BAKER | TAPPING | 3 | 2026-05-18 | Worn out
72 | MP-QRG-225 GO | QRG | 1/2-20UNF-2A |  | BAKER | QUALITY | 3 | 2026-05-18 | Worn out
73 | MP-TPG-652 | TPG | 1/4-28UNF-2B |  | BAKER | Production | 3 | 2026-05-14 | Worn out
74 | MP-TRG-468 G | TRG | 8-36UNF-2A |  | BAKER | Production | 6 | 2025-11-19 | Worn out
75 | MP-QPG-128 | QPG | 9/16-12UNC-2B | - | BAKER | Quality | 6 | 2026-04-30 | Worn out
76 | MP-TRG-342 G | TRG | 1/4-28UNF-2A |  | BAKER | Production | 6 | 2026-02-03 | Worn out
77 | MP-TPG-601 | TPG | 1.1/2-12UNF-2B |  | BAKER | Production | 6 | 2026-05-26 | Worn out
78 | MP-QPG-236 | TPG | 10-24UNC-2B |  | BAKER | Production | 3 | 2026-05-26 | Worn out
79 | MP-TPG-635 | TPG | 8-32UNC-2B |  | BAKER | Production | 3 | 2026-05-26 | Worn out
80 | MP-TPG-541 | TPG | 9/16-18UNF-3B |  | BAKER | Production | 6 | 2026-05-23 | Worn out
81 | MP-TRG-480G | TRG | 1.3/4-12UN-2A |  | BAKER | Production | 3 | 2026-06-01 | Worn out
82 | MP-TPG-368 | TPG | 1.1/4-12UNF-2B |  | BAKER | Production | 12 | 2026-06-01 | Worn out
83 | MP-LD-47 | Lever Dial | 0-0.8 | 0.01mm | MItutoyo | VTL1000 | 12 | 2026-05-25 | Worn out
84 | MP-TRG-400 G | TRG | 2-12UN-2A |  | BAKER | Production | 3 | 2026-06-02 | Worn out
85 | MP-TPG-586 | TPG | 1.3/16-20UN-3B |  | SIZE MASTER | Production | 6 | 10-026-2026 | Worn out
86 | MP-TRG-450 G | TRG | 1.3/4-12UN-2A |  | SIZE MASTER | Production | 3 | 2026-06-10 | Worn out
87 | MP-QRG-189 G & NG | QRG | 3.625-12UN-1A |  | BAKER | Quality | 12 | 2026-06-06 | Worn out
88 | MP-TPG-454 | TPG | 1/2-13UNC-2B LH |  | BAKER | Production | 6 | 2026-06-22 | Worn out
89 | MP-TRG-323 NG | TRG | 1.1/4-12UNF-2A |  | BAKER | Production | 3 | 2026-06-09 | Worn out
90 | MP-TRG-222 G | TRG | 9/16-18UNF-2A |  |  | Production | 12 | 2026-06-08 | Worn out
91 | MP-PD-53 | Plunger dial | 0-25 | 0.001 |  | ASSY | 12 | 2025-10-22 | Worn out
92 | MP-TRG-448 G | TRG | 1.1/4-12UNF-2A |  | SIZE MASTER | Production | 3 | 2026-06-01 | Worn out
93 | MP-BD-49 | Bore gauge | 6-10mm |  | MItutoyo | Production | 12 | 2026-05-14 | Worn out
94 | MP-TPG-605 | TPG | 3/8-24UNF-2B |  | BAKER | Production | 6 | 2025-12-13 | Worn out
95 | MP-PD-63 | Plunger Dial | 0-10 | 0.01mm | MITUTOYO | Production | 12 | 2025-07-31 | Worn out
96 | MP-LD-88 | Lever Dial | 0-0.8 | 0.01mm | MItutoyo | DOOSAN 500 | 12 | 2026-01-08 | Worn out
97 | MP-TPG-556 | TPG | 7/16-20UNF-2B |  | BAKER | Production | 6 | 2025-06-14 | Worn out
98 | MP-TPG-597 | TPG | 1/4-20UNC-2B |  | BAKER | TAPPING | 3 | 2025-12-13 | Worn out
99 | MP-TPG-636 | TPG | 10-24UNC-2B |  | BAKER | Production | 3 | 2026-03-02 | Worn out
100 | MP-PD-49 | Plunger Dial | 0-25 | 0.01 | Mitutoyo | production | 12 | 2026-03-27 | Worn out
944 | MP-TRG-527 G | TRG | 2.1/4-12UN-2A |  | BAKER | Production | 6 | 2026-06-18 | Worn out
231 | MP-TRG-206 G | TRG | 7/16-20UNF-2A | - | BAKER | Production | 12 | 2026-06-22 | Worn out
855 | MP-TPG-610 | TPG | 6-32UNC-2B |  | BAKER | Production | 6 | 2026-06-29 | Worn out
850 | MP-QPG-231 | TPG | 1/2-13UNC-2B |  | BAKER | Production | 6 | 2026-06-24 | Worn out
907 | MP-QPG-237 | QPG | 1/2-20UNF-3B |  | Baker | Production | 3 | 2026-06-24 | Worn out
929 | MP-QPG-239 | QPG | 1/4-20UNC-2B |  | Baker | QUALITY | 3 | 2026-06-25 | Worn out
761 | MP-QRG-224 GO | QRG | 1/2-20UNF-2A |  | BAKER | Production | 3 | 2026-06-24 | Worn out
481 | MP-TPG-369 | TPG | 4.1/16-6STUB ACME-2G |  | SIZE MASTER | Production | 12 | 2026-06-24 | Worn out
857 | MP-TPG-611 | TPG | 10-24UNC-3B |  | BAKER | Production | 6 | 2026-03-11 | Worn out
382 | MP-LD-77 | Lever Dial | 0-0.8 | 0.01mm | MItutoyo | HURCO 16 | 12 | 2026-07-09 | Worn out
275 | MP-TRG-247 G | TRG | M60 X 1.5-6G |  | BAKER | Production | 6 | 2026-07-06 | Worn out
862 | MP-TRG-505 G | TRG | 1/2-20UNF-2A |  | BAKER | Production | 3 | 2026-07-08 | Worn out
919 | MP-TPG-646 | TPG | 1/4-20UNC-2B |  | Baker | Production | 3 | 2026-07-09 | Worn out
954 | MP-TPG-659 | TPG | 2-16UNF-3B | -- | BAKER | Production | 12 | 2026-07-13 | Worn out
1005 | MP-TRG-545 G | TRG | 3/4-16UNF-2A | -- | BAKER | Production | 3 | 2026-06-30 | Worn out
10 | MP-QPG-169-E | QPG | M20X2.5-6H | -- | BAKER | Quality | 12 | 2026-07-14 | Worn out
464 | MP-TPG-358 | TPG | 15/16-20UNEF-2B | -- | BAKER | Production | 6 | 2026-05-10 | Worn out
791 | MP-TPG-570 | TPG | 0.125X44UNF-2B | -- | SIZE MASTER | Production | 6 | 2026-02-24 | Worn out
863 | MP-TRG-506 NG | TRG | 1-12UNF-2A | -- | BAKER | Production | 6 | 2026-06-25 | Worn out
921 | MP-QPG-238 | QPG | 5/16-18UNC-2B | -- | Baker | QUALITY | 3 | 2026-07-09 | Worn out
608 | MP-TRG-416 G | TRG | 10-24UNC-2A | -- | BAKER | Production | 6 | 2026-07-09 | Worn out
1014 | MP-TPG-683 | TPG | 3/8-16UNC-2B | -- | SIZE MASTER | FLOWSERVE | 3 | 2026-07-05 | Worn out
490 | MP-NPT-27 | NPT-TPG | 1/8-27NPT | -- | BAKER | Production | 12 | 2026-07-13 | Worn out
175 | MP-QRG-241 G | QRG | 1.15/16-16UN-2A | -- | SAI | Quality | 12 | 2026-07-13 | Worn out
585 | MP-TRG-405 G | TRG | 1.1/8-12UNF-3A | -- | BAKER | Production | 6 | 2026-07-14 | Worn out
408 | MP-SPG-19 GO & NOGO | SPLINE RING GAUGE | 14/2.11/30° | -- | OM | Production | 12 | 2026-07-17 | Worn out
409 | MP-SPG-20 GO & NOGO | SPLINE RING GAUGE | 12/2.11/30° | -- | OM | Production | 12 | 2026-07-17 | Worn out
321 | MP-PD-41 | Plunger Dial | 0-10 | 0.01mm | MItutoyo | LOKESH 200 | 12 | 2026-07-12 | Worn out
411 | MP-TRG-339 GO | TRG | 4.750X12UN-1A | -- | SAMRAT | Production | 6 | 2026-07-09 | Worn out
494 | MP-TRG-371 G | TRG | 3/4-10UNC-2A | -- | BAKER | Production | 6 | 2026-07-17 | Worn out
106 | MP-TRG-476 G | TRG | 3/8-24UNF-2A | -- | BAKER | Production | 3 | 2026-06-22 | Worn out
94 | MP-TRG-506 G | TRG | 1-12UNF-2A | -- | BAKER | Production | 6 | 2026-06-25 | Worn out
128 | MP-TRG-278 G | TRG | 7/8-14UNF-2A | -- | BAKER | Production | 6 | 2026-07-27 | Worn out
114 | MP-TRG-373 NG | TRG | 1-14UNS-2A | -- | BAKER | Production | 3 | 2026-07-27 | Worn out
139 | MP-TPG-565 | TPG | 2.1/2-8UN-2B | -- | BAKER | Production | 6 | 2026-07-25 | Worn out
115 | MP-TPG-623 | TPG | 10-24UNF-2B | -- | BAKER | TAPPING | 3 | 2026-07-25 | Worn out
117 | MP-QPG-241 | TPG | 3/8-16UNC-2B | -- | BAKER | Quality | 3 | 2026-07-25 | Worn out
142 | MP-TPG-621 | TPG | 1/2-13UNC-2B | -- | BAKER | TAPPING | 3 | 2026-07-25 | Worn out
143 | MP-TPG-622 | TPG | 5/8-11UNC-2B | -- | BAKER | TAPPING | 3 | 2026-07-25 | Worn out
116 | MP-TPG-629 | TPG | 3/4-16UNF-3B | -- | BAKER | Production | 3 | 2026-07-25 | Worn out
65 | MP-PD-41 | Plunger Dial | 0-10 | 0.01mm | MItutoyo | LOKESH 200 | 12 | 2026-07-13 | Worn out
75 | MP-TPG-560 | TPG | 1-8UNC-2B | -- | BAKER | Production | 6 | 2026-07-24 | Worn out
90 | MP-SG-21 | SNAP GAUGE | 23.800/23.648 | -- | SSE | Production | 6 | 2026-08-04 | Worn out
93 | MP-SG-24 | SNAP GAUGE | 14.417/14.279 | -- | SSE | Production | 6 | 2026-08-04 | Worn out
91 | MP-SG-22 | SNAP GAUGE | 19.05/18.897 | -- | SSE | Production | 6 | 2026-08-04 | Worn out
171 | MP-SG-12 | SNAP GAUGE | 28.550/28.366 | -- | SSE | Production | 6 | 2026-08-09 | Worn out
| MP-SG-10 | SNAP GAUGE | 26.137/25.674 | -- | SSE | Production | 6 | 2026-08-09 | Worn out
173 | MP-SG-14 | SNAP GAUGE | 34.900/34.691 | -- | SSE | Production | 6 | 2026-08-09 | Worn out
184 | MP-TRG-510 G | TRG | 5/16-24UNF-2A | -- | BAKER | Production | 3 | 2026-08-10 | Worn out
185 | MP-TRG-514 G | TRG | 1.1/8-16UN-2A | -- | BAKER | Production | 3 | 2026-08-10 | Worn out
150 | MP-QPG-242 | QPG | 3/4-16UNF-3B | -- | BAKER | QUALITY | 3 | 2026-08-10 | Worn out
151 | MP-TPG-658 | TPG | 3/8-24UNF-3B | -- | BAKER | Production | 3 | 2026-08-10 | Worn out
149 | MP-TPG-656 | TPG | 1/2-20UNF-3B | -- | BAKER | Production | 3 | 2026-08-10 | Worn out
53 | MP-TRG-198 G (A) | TRG | 5/16-18UNC-2A | -- | BAKER | Production | 6 | 2026-08-10 | Worn out
133 | MS-TRG-12 G | TRG | 1.1/16-12UN-2A | -- | Baker | Production | 6 | 2026-08-07 | Worn out

## Sheet1
[8 empty] | CAL DATE | DUE DATE
653 | MP-LG-01 | GUAGE MAKER | LG-6002 |  | GUAGE MAKER | Production | 12
654 | MP-LM-01 | LEAD MASTER | 4TPI-1.250TPF |  | GUAGE MAKER | Production | 12
677 | MP-SG-16 | SNAP GAUGE | 28.443/25.550 |  | SSE | Production | 6
720 | MP-LD-85 | Lever Dial | 0-0.8 | 0.01 | MItutoyo | Production | 12
722 | MP-DMIC-12 | Digital Micrometer | 100-125MM | 0.001 | Mitutoyo | Quality | 12